## Introduction
Welcome to the AIA COTE Top Ten Super Spreadsheet!
Explanation |  | Step 1: Fill out the basic information about your project in the yellow cells. | [5 empty] | Step 2: Review your benchmarks to evaluate your projects performance.
This tool has been created by AIA COTE members to help architects calculate project performance metrics. After entering information on each measure tab, the "AIA COTE Top Ten Award Summary" tab provides a summary of inputs that need to be transferred to the awards application portal. Whether it's used to better understand a design's performance or to streamline the process of submitting for the AIA COTE Top Ten award, this tool will allow easy, consistent calculation and evaluation of project performance metrics and benchmarking. Note: This version is not compatible with Excel 2019 or older. For questions email cote@aia.org, we are looking to improve the tool, and appreciate your feedback! |  | Project Information | [5 empty] | Transportation
[8 empty] | Total Annual |  | 0 | kg-CO2e / yr
|  |  | Project Name |  |  |  |  | Total Annual per Occupant |  | 1729.2353 | kg-CO2e / occupant / yr
Project Address
|  |  | apt., suite, etc. |  |  |  |  | Water
|  |  | Country / Region(?) |  |  |  |  | Total Annual Water Use |  | 0 | gal / yr
|  |  | City |  |  |  |  | WUI - Water Use Intensity (Program-based) |  | 0 | gal / sf / yr | User-Defined Benchmark Source
|  |  | State (?) |  |  |  |  | WUI - Water Use Intensity (User-Defined) |  |  | gal / sf / yr
|  |  | Other State / Province(?) |  |  |  |  | Water Use per Occupant |  |  | gal / occupant / yr
Zip / Postal Code(?)
Energy
|  |  | ASHRAE Climate Zone |  |  | (Link to ASHRAE Maps) |  | Total Annual Energy Use |  | 0 | kBtu / yr
|  |  | Other Climate Zone(?) |  |  | (Link for International Projects) |  | EUI - Energy Use Intensity (Program-based) |  | 0 | kBtu / sf / yr
[8 empty] | EUI - Energy Use Intensity (User-defined) |  |  | kBtu / sf / yr | Use ZeroTool designated EUI
|  |  | Project Type |  |  |  |  | Energy Use per Occupant |  |  | kBtu / occupant / yr
Visit the AIA website for COTE Top 10 FAQs |  |  | Site Environment(?) |  | 
|  |  | Previously Developed Site |  |  |  |  | Operational Carbon Emissions
|  |  | Project completion year |  | Year (YYYY) |  |  | Grid Electricity Carbon Emission Conversion Factor (?) |  | 852.3 | lb/mWh | Use regional conversion factor from eGrid (2021)
[8 empty] | Total Annual Carbon Emissions |  | 0 | kg-CO2e / yr
Cell Type Legend |  |  | Total Construction Cost(?) |  | USD |  |  | Carbon Use Intensity (Program-based) |  | 0 | kg-CO2e / sf / yr | User-Defined Benchmark Source
Input data | Explanation |  |  |  | Cost/gsf |  |  | Carbon Use Intensity (User-Defined) |  |  | kg-CO2e / sf / yr
[8 empty] | Carbon Emissions per Occupant |  |  | kg-CO2e / occupant / yr
Reasonable values and sources
|  | Building Program and Areas | [5 empty] | Electric Lighting
AIA COTE Top 10 Award Program Color Scheme | [7 empty] | Lighting Power Density |  | 0 | W / sf | User-Defined Benchmark Source
|  |  | Building Program | Program Breakdown(?) |  | Gross Area | % of Total Area | Lighting Power Density (User-Defined) |  |  | W / sf
Optional for AIA COTE Top 10 | Mandatory for AIA COTE Top 10 |  | Building Program #1 |  | 
Calculated Value | Calculated Value |  | Building Program #2 |  |  |  |  | Nonconformity Statement
|  |  | Building Program #3 |  | 
|  |  | Building Program #4 |  |  |  |  |  | Use this section to explain any unique situations or nonconformities with the AIA COTE Top Ten awards requirements.
Step 1: Basic Project Information For international projects, please refer to the links provided in each section and select a US-equivalent state/climate zone. Please approximate your building program to match the list of programs available in this calculator. For laboratory and single-family residential buildings, please allocate 100% of your building area to that type. Step 2: Benchmarks Benchmarks are assigned based on building-specific, national CBECS (2003) data for the project to be compared against and rely on program types selected. If a user-defined benchmark is present, the national benchmarks will be overridden. For AIA COTE Top Ten energy reductions, the benchmark should be user-defined using Architecture 2030's Zero Tool. Optional user-defined benchmarks can be entered above as a way of tracking any specific benchmarking research that the team conducted. |  |  | Building Program #5 |  | 
|  |  | Building Program #6 |  | 
|  |  | Building Program #7 |  | 
|  |  | Building Program #8 |  | 
|  |  | Total Building Area | 0 | gsf
|  |  | Conditioned Area (?) |  | gsf | Conditioned + Unconditioned Area must equal Total Building Area
|  |  | Unconditioned Area (?) |  | gsf
|  |  | Regularly Occupied Space Area (?) |  | gsf
|  |  | Site Area (?) |  | gsf
FAR
Building Occupancy and Operation
|  |  | Avg daily occupancy (?) |  | People
|  |  | FTEs (?) |  | People
sf/occupant - Avg.
|  |  | Annual days of operation (?) |  | Days
|  |  | Avg. daily hours of operation (?) |  | Hours
|  |  |  | 0 | Annual hours of operation
Additional Project Information
|  |  | Is the firm an AIA 2030 Signatory |  | 
|  |  | Reported in the AIA DDx |  | 
|  |  | Third party rating system 1 |  | 
|  |  | Third party rating system 2 |  | 
|  |  | Third party rating system 3 |  | 
|  |  | If other, specify |  | 

## 01 Integration
1 - Design for Integration
Explanations |  |  |  | Inputs: Describe your project's big idea on integrating design and sustainability in the yellow cell below. Look at the chart below for inspiration.
HOLISTIC SUSTAINABILITY |  |  |  | 1.1 - What is the big idea?
Sustainability strategies can affect and involve multiple AIA COTE measures. As an example: think how many measures are influenced by carbon metrics? The chart below represents the interconnectivity of the AIA COTE measures.
COMMUNITY
Place based. | ECOLOGY
Aquifer/watershed, shared resource. | Climate appropriate landscape. Rainwater harvesting. | WATER
Financial resilience. | Economic benefits of biophilic design. Low maintenance design. | Water savings, water independence. | ECONOMY
District systems. | Bioclimatic and passive design. | Energy savings from transportation and treatment of water. | Life cycle cost, Life cycle analysis. |  | ENERGY
Carbon emissions from transportation. Air quality. | Connection to nature. | Water quality. | Operational costs and costs from productivity of building occupants. |  | Daylighting as energy conversation measure. | WELLNESS
Locally sourced materials. | Environmentally conscious material extraction, mfg., transp. and disposal. | Aquifer conservation, surface water quality and enjoyment, watershed protection. | Durability and maintenance of materials. |  | Embodied carbon of materials. | Safer material selection, material transparency. | RESOURCES
Social equity is a major component of resilience. | Climate change: fires, earthquakes, floods, ocean rise. | Water resilience. Flooding, precipitation changes, drought. | Right sizing, flexibility for growth and change. |  | Carbon's role in climate change. | Passive survivability. | Embodied carbon savings from adaptive reuse. | CHANGE
User groups, profiles, heat maps. | Biodiversity. | Mindful presence of water. | Replicable, cost effective strategies. |  | Measurement and verification. | Tracking health impacts. | Future adaptability. | Post-occupancy evaluations. | DISCOVERY

## 02 Community
2 - Design for Equitable Communities
Explanations | Calculators: Enter your values into the yellow cells. |  |  |  |  | Reasonable Ranges |  |  |  |  | Sources
The social cost of carbon (SC-CO2) is a measure, in dollars, of the long-term damage done by one ton of carbon dioxide (CO2) emissions in a given year. This dollar figure can be useful in calculating the value associated with carbon reduction. This section will auto-populate once you complete tabs "06 Energy" and "08 Resources". | 2.1 - Social Cost of Carbon | [9 empty] | EPA Fact Sheet: Social Cost of Carbon
[6 empty] | Some tools for calculating WBLCA include the landscape in the LCA scope, so depending on the tool used, the 10-yr social cost of carbon intensity may or may not include landscape. |  |  |  |  | Brookings Institute: Social Cost of Carbon Proposal
|  | Total Predicted Embodied Carbon | 0 | kg CO2e
Fill out section 8.4 in the "08 Resources" tab
|  | Total Predicted Operational Carbon (10-yrs) | 0 | kg CO2e
Fill out section 6.2 in the "06 Energy" tab
|  | Social Cost of Carbon | 190 | $ / ton CO2e
|  |  | 0.19 | $ / kg CO2e
|  | 10-yr Social Cost of Carbon | 0 | $ / kg CO2e
|  | 10-yr Social Cost of Carbon Intensity | 0 | $ / kg CO2e / sf
Walkscore.com generates several scores for walkability and community resources for any address in the US. NOTE: Transit and Bike scores are not available for all locations and can be left blank with an explanation to that effect in Section 2.4 - Nonconformity Statement of this tab. | 2.2 - Walk / Transit / Bike Score |  |  |  |  | Range | Walk Score | Transit Score | Range | Bike Score | Walk Score Methodology
[6 empty] | 0 - 24 | Car Dependent | Minimal Transit | 0 - 49 | Somewhat Bikeable
|  | Walk Score |  |  |  | 25 - 49 | Mostly Car Dependent | Some Transit | 50 - 69 | Bikeable
|  | Transit Score |  |  |  | 50 -69 | Somewhat Walkable | Good Transit | 70 - 89 | Very Bikeable
|  | Bike Score |  |  |  | 70 - 89 | Very Walkable | Excellent Transit | 90 - 100 | Biker's Paradise
[6 empty] | 90 - 100 | Walker's Paradise | Rider's Paradise
This simple calculator compares your project's commuting patterns to published national averages. Use a survey (or an educated guess) to determine the average commuting distance and average mpg of the building's occupants. If no information is available, use the baseline (US national average). Though it's designed for office projects, the calculator can produce good results for all buildings that people travel to and from. | 2.3 - Simple Transportation Carbon Calculator |  |  |  |  | kgs of CO2e/Occupant |  |  |  |  | Reference Values |  | Unit | Source
[11 empty] | Average car fuel economy | 24.9 | mpg | 2020 EPA Automative Trends Report
|  |  | Proposed | Baseline | Unit | > 1800 | Baseline |  |  |  | Average CO2 emitted per gallon | 8.887 | kg CO2e/gallon | EPA - Vehicle Emissions
|  | Average Daily Occupancy | 0 |  |  | 1350 - 1800 | Getting there |  |  |  | Average one way commute | 12.7 | Miles | 2017 National Household Travel Survey
|  | No. of occupants commuting by single-occupancy gas vehicle(?) |  |  |  | 900 - 1350 | Better | [6 empty] | Table 27, Survey Year 2017 Adj., Private Vehicle
|  | Percent of occupants commuting by single-occupancy vehicle |  | 76.3% | Weekly Avg. | 450 - 900 | High Performing |  |  |  | Share of single occupancy commutes | 76.3% |  | 2019 Census
|  | Average round trip commute |  | 25.4 | Miles | 0 - 450 | Very High Performing |  |  |  | Average commuting days | 250 | days/year | 5 days * 50 weeks
|  | Days Commuting per week |  | 5 | Days
|  | Weeks commuting per year |  | 50 | weeks | [5 empty] | *Please use reference values, not regional values
|  | Average Car Fuel Economy(?) |  | 24.9 | mpg
|  | Average carbon emission per gallon of gasoline | 8.887 | 8.887 | kg-CO2e / gal
|  | Annual transportation carbon per occupant | 0 | 1729.2353 | kg-CO2e / occupant / yr
|  | Annual Transportation Carbon | 0 | 0 | kg-CO2e / yr
|  | Transportation Carbon Percent Reduction | 0%
Use this section to explain any unique situations or nonconformities with the AIA COTE Top Ten awards requirements. | 2.4 - Nonconformity Statement

## 03 Ecosystems
3 - Design for Ecosystems
Explanations | Calculators: Enter your values into the yellow cells. | [5 empty] | Reasonable Ranges | Sources
Determine the area of the site reserved for vegetation, both before and after development by subtracting all impervious areas from the site area. Green roofs are included in the percent vegetated calculations. A negative value for the "Increase in Percent of Vegetated Area" field indicates a decrease, which is not desirable. | 3.1 - Landscaped Area | [5 empty] | In most cases, it's desirable to increase a site's vegetated area.
|  | Softscape Area | Post-Development |  | Pre-Development
|  | Green Roof |  | sf |  | sf
|  | Other On-Site Vegetation |  | sf |  | sf
|  | Softscape Area Subtotal | 0 | sf | 0 | sf
Hardscape Area
|  | Building Footprint |  | sf |  | sf
|  | Surface Parking |  | sf |  | sf
|  | Pervious Pavement |  | sf |  | sf
|  | Other On-site Hardscapes |  | sf |  | sf
|  | Other |  | sf |  | sf
|  | Hardscape Area Subtotal | 0 | sf | 0 | sf
|  | Total Site Area (Section 3.1) | 0 | sf | 0 | sf
|  | Total Site Area (01 Introduction) | 0 | sf | 0 | sf
Total Site Area in Section 3.1 must match Site Area in 01 Introduction
|  | Percent of Site Area Vegetated | 0% |  | 0%
|  | Increase in Percent of Vegetated Area | 0%
While increasing vegetated areas is desirable, certain types of vegetation have a higher environmental impact than other types. For example, replacing mature forests with turf removes habitat for insects and animals, increases stormwater runoff, and increases pesticide use. Click on each vegetation type to read detailed descriptions for each. | 3.2 - Quality of Vegetation | [5 empty] | A greater percentage of native plants and a smaller percentage of turf grass is usually preferable.
|  | Is this a zero-lot line project? |  | 
|  | Low Quality (LQ) Vegetation | Post-Development |  | Pre-Development
|  | Conventional Turf (?) |  | sf |  | sf
|  | Decorative Plants + Shrubs (?) |  | sf |  | sf
|  | Sparsely Planted/Mulched Area (?) |  | sf |  | sf
|  |  | 0 |  | 0
Medium Quality (MQ) Vegetation
|  | Native or Adapted Plants + Shrubs |  | sf |  | sf
|  | Multi-level Planting Structure (?) |  | sf |  | sf
|  | Vegetated Green Infrastructure (?) |  | sf |  | sf
|  |  | 0 |  | 0
High Quality (HQ) Vegetation
|  | Restored / Introduced Meadow, Prairie, or Shrubland Ecosystems |  | sf |  | sf
|  | Restored / Introduced Wetland Ecosystems (?) |  | sf |  | sf
|  | Restored / Introduced Forest Cover Ecosystem |  | sf |  | sf
|  |  | 0 |  | 0
|  | Total Softscape Area (Section 3.1) | 0 | sf | 0 | sf
|  | Total Softscape Area (Section 3.2) | 0 | sf | 0 | sf
|  | Total Softscape Area must match between Sections 3.1 & 3.2 | 0 |  | 0
|  | Vegetation Quality Score | 0% |  | 0%
|  | Tree Cover | Post-Development |  | Pre-Development
|  | Number of Native or Adapted Trees |  | qty |  | qty
|  | Increase in Percent of Trees | 0%
Medium and high-quality vegetation is the most economically viable strategy for projects pursuing design solutions for carbon storage and sequestration. There are several tools in the market that can help projects evaluate the long-term carbon impacts related to landscape design. | 3.3 - Vegetation Carbon Balance | [5 empty] | Rule of Thumb: Most ecosystems hit their carbon-carrying capacity in the first 100 years, so projects should limit the modeled time period to under 100 years. 60 years is a reasonable best practice for WBLCA. | Carbon Conscience
Carbon Positive Design
|  | Was carbon balance of the landscape modeled? |  | 
|  | What was the modeled time period? |  | yr
|  | What was the site’s net impact over that period? |  | MT CO2
|  | Landscaping Carbon Intensity |  | kg CO2e/sf/yr
|  | 10-yr Landscaping Carbon Intensity | 0 | kg CO2e/sf
When dark surfaces absorb heat from the sun, they emit that heat back into the atmosphere, raising ambient temperatures in dense urban areas by several degrees. This cycle is known as the heat-island effect. Light-colored hardscape and roof surfaces reflect heat from the sun and reduce the heat island effect. If dark-colored surfaces cannot be lightened, increasing tree canopy coverage will provide sufficient shade to mitigate the heat island effect. EXCLUDE green roof area from these section. | 3.4 - Urban Heat Island | [5 empty] | Albedo Ranges by Material Type Low-Slope Roof: 3-year SRI value of at least 64 or initial SRI value of at least 82 Steep-Slope Roof: 3-year SRI of at least 32 or initial SRI value of at least 39 Hardscape: 3-year aged SR value of at least 0.28 or initial SR value of at least 0.33
|  | Heat Island Mitigation Strategies | Post-Development |  | Pre-Development
|  | Roof Area with High Albedo |  | sf |  | sf
|  | Hardscape with High Albedo |  | sf |  | sf
|  | Hardscape Area Covered by Tree Canopy |  | sf |  | sf
|  | Shaded or High Albedo Area Subtotal | 0 | sf | 0 | sf
|  | Total Hardscape Area (Section 3.1) | 0 | sf | 0 | sf
Total Hardscape Area in Section 3.3 cannot exceed Section 3.2
|  | Percent of Hardscaped Area Shaded or High Albedo | 0% |  | 0%
|  | Increase in Heat Island Mitigation - Post Development | 0%
Use this section to explain any unique situations or nonconformities with the COTE Top Ten awards requirements. | 3.5 - Nonconformity Statement

## 04 Water
4 - Design for Water
Explanations | Calculators: Enter your values into the yellow cells. | [10 empty] | Reasonable Ranges |  |  |  |  | Sources
This simple calculator will give an estimate of a building's water consumption. Three uses are taken into account for this calculation, indoor water use, irrigation, and cooling. For the sake of simplicity, other water uses, such as pools or commercial kitchens are not included. COMPOSTING TOILETS / WATERLESS URINALS Projects can use a flow rate of "0" where composting toilets or waterless urinals are implemented. In this case, projects should provide a short explanation in section 4.9. | 4.1 - Benchmark Water | [10 empty] | Water Use Intensity by Building Type (gal / sf / yr - except where noted) |  |  |  |  | Source: EPA Energy Start Data Trends
Source: CBECS Table W1. Water consumption 2012
|  |  | Total Annual Water Use | 0 | gal / yr |  |  | Daily Avg Occupancy | 0 |  |  | Building Type | Low | High |  |  | Source: Savetexaswater.org Analysis
|  |  | Water Use Intensity | 0 | gal / sf / yr |  |  | Annual days of operations | 0 |  |  | Education | 10.95 | 18.25 |  |  | Sources: EPA WaterSense - Residential Water Use
[12 empty] | Enclosed and strip malls | 8.85 | 14.75
[12 empty] | Grocery Store | 17.775 | 29.625
| 4.2 - Predicted Indoor Water Use | [10 empty] | Inpatient | 37.2 | 62 |  |  | Typical Flow Rates
[12 empty] | Lodging | 31.275 | 52.125 |  |  | EPA WaterSense
[8 empty] | Water Use (gal) |  |  |  | Mercantile | 9.45 | 15.75 |  |  |  | Residential |  | Commercial
|  |  |  | Design Flow Rate |  | Use/Day/Occ (?) |  | Daily | Annual |  |  | Multifamily Housing | 31.5 | 52.5 |  |  |  | High | Low | High | Low
|  |  | Toilet |  | gpf | 0 |  | 0 | 0 |  |  | Office | 10.95 | 18.25 |  |  | Toilet | 1.6 | 1.1 | 1.6 | 1.1
|  |  | Urinal* |  | gpf | 0 |  | 0 | 0 |  |  | Outpatient | 11.7 | 19.5 |  |  | Sink | 1.5 | 1 | 0.5 | 0.5
|  |  | Shower |  | gpm | 0 |  | 0 | 0 |  |  | Public Assembly | 19.275 | 32.125 |  |  | Shower | 2.5 | 2 | 2 | 1.5
|  |  | Lavatory |  | gpm | 0 |  | 0 | 0 |  |  | Public order and safety | 31.575 | 52.625 |  |  | Urinal | x | x | 1 | 0.2
|  |  | Kitchen faucet |  | gpm | 0 |  | 0 | 0 |  |  | Religious Worship | 5.475 | 9.125 |  |  | Kitchen Sink | 2.2 | 1.8 | 2.2 | 1.28
[12 empty] | Restaurant | 161.25 | 268.75
[7 empty] | Total Predicted Indoor Water Use | 0 | 0 |  |  | Retail | 6 | 10 |  |  | The table to the left contains values that are +/- 25% from the benchmark.
[12 empty] | Senior Care | 45.15 | 75.25
|  |  | * If no urinal is provided for non-residential projects, enter the toilet flow rate for the urinal. | [8 empty] | Warehouse and storage | 2.55 | 4.25
|  |  | Enter "0" for waterless urinal. | [8 empty] | Single Family Residential | 300 gal / household / day
Determine the amount of water used for irrigation. Rainwater that falls on the site, but is not collected or stored for later reuse is taken into account in this calculation. Projects that have on-site rainwater collection and/or reuse infrastructure can take credit for it in Section 4.5. 1 - When "Pool, Spa, Water Feature" is listed under "Landscape Type", use "Not Applicable" for "Irrigation Type" to avoid a calculation error. 2 - Microspray may only be used on vegetation other than turfgrass if it meets the definition of ASABE/ICC 802 Landscape Irrigation Sprinkler and Emitter Standard, a micro irrigation emission device with one or more orifices to convert irrigation water pressure to water discharge with a flow rate not to exceed 30 gallons per hour (113.5 liters per hour) at the largest area of coverage available for the nozzle series when operated at 30 psi (206.8kPa). 3 - Lower quarter distribution uniformity (DULQ) – The measure of uniformity of irrigation water applied over an area. DULQ is the ratio of the average of the lowest 25 percent of measurements to the overall average measurement. | 4.3 - Predicted Design Oudoor Water Use
Water Requirements (KL)
|  |  |  | Are landscape features irrigated? |  |  | [5 empty] | Landscape Type | Low | Medium | High |  | Irrigation Calculation Methodology
[12 empty] | Groundcover | 0.2 | 0.5 | 0.7 |  | Source: EPA WaterSense Budget Tool
|  |  |  | Total Irrigated Area (Potable and/or Non-Potable) |  | sf | ERROR: Area Irrigated is Larger than Total Softscaped Area |  |  |  |  | Pool, Spa, Water Feature | 0.8 | 0.8 | 0.8
|  |  |  | Peak Irrigation Month |  |  | Use EPA's Water Budget Data Finder Site |  |  |  |  | Shrubs | 0.2 | 0.5 | 0.7
|  |  |  | Monthly Evapotranspiration (ETo) |  | in | to enter region specific ETo and rainfall |  |  |  |  | Trees | 0.2 | 0.5 | 0.9
|  |  |  | Average Monthly Rainfall |  | in | [5 empty] | Turfgrass | 0.6 | 0.7 | 0.8
|  |  |  | Peak Irrigation Monthly Baseline | 0 | gal
|  |  |  | Monthly Landscaping Water Allowance (LWA) | 0 | gal
|  |  |  | Annual Landscaping Water Allowance (LWA) | 0 | gal
[12 empty] | Irrigation Type | Distributed Uniformity (DU LQ ) 1
[9 empty] | LWRH for Hydrozone (gal) |  |  | Drip - Press Comp | 90%
|  | Hydrozone Area (SF) | Landscape Type  | Water Use  | Irrigation Type1  | KL |  | DULQ 3 | Monthly | Annual |  | Drip - Standard | 70%
[11 empty] | Ensure "Water Use" and Irrigation Type columns are filled in. | Fixed Spray | 65%
[12 empty] | Microspray | 70%
[12 empty] | Not Applicable | 65%
[11 empty] | See Note 1. | Rotor/Rotating Nozzles | 70%
Fixed spray irrigation is only allowed for Turfgrass
[12 empty] | Allowable Irrigation Type | Drip-Std | Drip-Press | Fixed | Micro
[12 empty] | Groundcover | x | x |  | x2
[12 empty] | Shrubs | x | x |  | x2
|  | 0 | Must Equal Total Irrigated Area |  |  |  |  | Total Landscape Water Requirement (LWR) | 0 | 0 |  | Trees | x | x |  | x2
[8 empty] | Percent Reduction in Outdoor Water Use | 0% |  |  | Turfgrass | x | x | x | x
This section is an extremely rough estimate of the water consumption of a cooling tower. 1 - Assume: 0 water for non-potable use, 25% less water for conservation strategies. Examples of strategies for conserving cooling tower water include: using alternative sources of water, optimizing the cycles of concentration and minimizing bleed volume, minimizing drift, and preventing overflows and leaks. | 4.4 - Predicted Cooling Tower Water Use
[12 empty] | Nation Average - Buildings with cooling towers use 7 gallons of water more (per sf annually) than those without. |  |  |  |  | Source: CBECS Table W1. Water consumption 2012
|  |  |  | Does the project have a water-cooled chiller? |  |  |  | Use Dropdown to make selection.
|  |  |  | Percent of the building cooled by a water-cooled chiller |  |  |  | Use Dropdown to make selection.
|  |  |  | Cooling tower water use intensity | 0 | gal/sf/yr
[5 empty] | 0 | gal/yr
|  |  |  | Does the cooling tower use potable water? |  |  |  | Use Dropdown to make selection.
|  |  |  | Were strategies taken to conserve cooling tower water? 1 |  |  |  | Use Dropdown to make selection.
|  |  |  | Total Annual Cooling Tower Water Use | 0 | gal/yr
Enter the monthly modeled and measured water consumption for each water source. Leave cells blank where you do not have a value. 1 - Predicted demand water use is pre-entered from the above calculator and only takes into account bathroom use, irrigation, and an order of magnitude estimate for cooling tower use. (Note: Due to complexity and variability, water used in restaurants, laboratories, or industrial processes, is not taken into account.) 2 - Measured potable use can come from utility bills. 3 - For reclaimed and rainwater, only include the nonpotable water that is reused for another purpose (gray/black/purple pipe) and offsets a potential potable use, such as irrigation, condensate, foundation water, or other sources not already accounted for in this calculator. | 4.5 - Account for Rainwater and Reclaimed Water (Grey/Black)
In most cases, the lower percent of potable water uses, the better.
|  |  | Predicted (gal) |  |  |  |  | Measured (gal)
|  | Month | Demand1 | Potable | Rainwater 3 | Reclaimed 3 |  | Demand1 | Potable 2 | Rainwater 3 | Reclaimed 3
|  | January | 0 | 0 |  |  |  | 0
|  | February | 0 | 0 |  |  |  | 0
|  | March | 0 | 0 |  |  |  | 0
|  | April | 0 | 0 |  |  |  | 0
|  | May | 0 | 0 |  |  |  | 0
|  | June | 0 | 0 |  |  |  | 0
|  | July | 0 | 0 |  |  |  | 0
|  | August | 0 | 0 |  |  |  | 0
|  | September | 0 | 0 |  |  |  | 0
|  | October | 0 | 0 |  |  |  | 0
|  | November | 0 | 0 |  |  |  | 0
|  | December | 0 | 0 |  |  |  | 0
|  | Total Annual (gal) | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
|  | Percent of Demand |  | 0% |  |  |  |  | 0%
This table shows how the predicted water use from the calculators above compares with the benchmark. | 4.6 - Annual Potable Water Use Summary
Annual Potable Water Use
|  |  | Total | Per Occupant | Water Use Intensity
|  |  | (gal/yr) | (gal/occupant/yr) | (gal/sf/yr) |  |  | Percent Potable Water
|  | Benchmark | 0 |  | 0 |  |  | Use Reduction
|  | Predicted | 0 |  | 0 |  | Predicted | 0% |  |  |  | Negative values for percent reduction indicates an increase in water use from the benchmark
|  | Measured | 0 |  | 0 |  | Measured | 0%
Step 1: Choose the applicable stormwater event from the dropdown and enter the corresponding inches of rainfall. You can use the table to the right or you can use historical rainfall data to calculate an appropriate percentile rain event. Step 2: Enter the total volume of onsite storage, either a cistern or a retention pond. Step 3: Enter the area for each site surface type. | 4.7 - Stormwater Managed On-site
[12 empty] | 2yr 24h Storm Events |  |  |  |  | Storm Events
|  | Type of Storm Event |  |  |  |  | [5 empty] | City | Inch | Surface |  | Runoff Co.
|  | Storm Event |  |  |  | in | [5 empty] | Atlanta | 3.6 | Metal Roof |  | 0.90 - 0.95 | NOAA Precipitation Frequency Data Server
|  | Storm Event |  |  | 0 | ft | [5 empty] | Chicago | 2.4 | Asphalt Roof |  | 0.85 - 0.90 | For a 2yr-24hr storm event, use the map to find your location and then find the required storm event by finding the 2-year column and 24-hour row in the table.
|  | Stormwater Storage |  |  |  | cf | [5 empty] | Cleveland | 2 | Gravel Roof |  | 0.80 - 0.85
[12 empty] | Dallas | 3.7 | Green Roof |  | 0.25 - 0.50
|  |  |  | Surface | Runoff Co. | Area (sf) |  | Stormwater (cf) | Total Runoff (cf) |  |  | Denver | 1.4 | Concrete |  | 0.70 - 0.95
|  |  | Roof |  | 0.9 | 0 |  | 0 | 0 |  |  | Helena | 1.4 | Asphalt |  | 0.70 - 0.95 | Runoff
|  |  | Green Roof |  | 0.25 | 0 |  | 0 | 0 |  |  | Houston | 4.6 | Bricks |  | 0.70 - 0.85
|  |  | Other Hardscape Surfaces |  | 0.7 | 0 |  | 0 | 0 |  |  | Las Vegas | 0.8 | Pavers |  | 0.60 - 0.80 | Run Coefficient Table
|  |  | LQ Plantings (?) |  | 0.15 | 0 |  | 0 | 0 |  |  | Los Angeles | 2.2 | Turf |  | 0.15- 0.30 | This resource goes into detail on surface conditions and soil type
|  |  | MQ or HQ Plantings (?) |  | 0.05 | 0 |  | 0 | 0 |  |  | Memphis | 3.8 | Native plants |  | 0.05 - 0.25
|  |  | Pervious Surfaces |  | 0.6 | 0 |  | 0 | 0 |  |  | Miami | 5.4 | Sandy soil |  | 0.05 - 0.25
[8 empty] | 0 | 0 |  |  | New York | 3.4 | Clay-y soil |  | 0.15 - 0.45
[8 empty] | 0 | 0 |  |  | Philadelphia | 3 | Forest |  | 0.05 - 0.25
[8 empty] | 0 | 0
|  |  |  | Sub Total |  |  | 0 | 0 | 0
|  |  |  | After Storage |  |  |  |  | 0
|  |  |  | Percentage of Stormwater Managed On-site | 0%
Choose the most applicable option from the dropdown. This is a simple way to self assess the quality of stormwater leaving the site. | 4.8 - Water Runoff Quality | [10 empty] | Runoff Type | Score |  | Water Quality
[12 empty] | Parking areas | 1 | 20% | Poor
|  |  |  | Estimated Water Runoff Quality |  |  |  |  |  |  |  | Hardscape | 2 | 40% | Baseline
[12 empty] | Vegetated Area | 3 | 60%
|  |  |  | Runoff Quality Score | 0% | [6 empty] | Natural filtration (bio-swales or retention ponds) | 4 | 80% | High Performing
[12 empty] | Mechanically filtered and released | 5 | 100% | Very High Performing
Use this section to explain any unique situations or nonconformities with the AIA COTE Top Ten awards requirements. | 4.9 - Nonconformity Statement
z

## 05 Economy
5 - Design for Economy
Explanations | Calculators: Enter your values into the yellow cells. | [6 empty] | Reasonable Ranges |  |  | Sources
Enter the published cost to construct similar buildings in the region and list the source. | 5.1 - Construction Cost Benchmark | [9 empty] | BOMA maintenance costs
|  | Benchmark - Building Type Specific |  |  | $/sf | Benchmark Source
|  | Actual construction cost |  |  | $/sf
|  | Construction Cost Reduction from the Benchmark | 0%
There are many design strategies for reducing building operating costs. Include design strategies, along with their estimated numerical impact here. This should be pretty rough and is most valuable as a thought exercise. The cost savings from utilities are already populated. | 5.2 - Estimated Operating and Maintenance Cost Reduction | [6 empty] | US Office Building O+M Cost Benchmarks (BOMA Report 2016)
|  | Cost Reduction Strategies | Design | Benchmark |  |  |  | Utilities | 2.16 | /sf/yr
|  | From utility savings | 0 | 0 | $/year | Major Strategy | Reduced annual utility cost due to building efficiency and on-site renewables. | Administrative | 1.45 | /sf/yr
|  | From cleaning |  | 0 | $/year | Major Strategy |  | Cleaning | 1.52 | /sf/yr
|  | Repairs and maintenance |  | 0 | $/year | Major Strategy |  | Parking | 0.61 | /sf/yr
|  | Other |  |  | $/year | Major Strategy |  | Roads and grounds | 0.25 | /sf/yr
|  | Other |  |  | $/year | Major Strategy |  | Repairs and maintenance | 2 | /sf/yr
|  | Total | 0 | 0 | $/year |  |  | Total | 7.99 | /sf/yr
An efficient building will use fewer resources to construct, operate, and maintain. Enter the typical building efficiency ratio for the building type as a benchmark, the source of the benchmark, and the efficiency ratio achieved. | 5.3 - Building Space Efficiency | [9 empty] | GSA Workspace Utilization and Allocation
|  | Efficiency ratio Benchmark - Building Type Specific |  |  |  | Benchmark Source
|  | Efficiency ratio achieved |  |  |  | Major Strategy
|  | Efficiency ratio percent improvement | 0%
Use this section to explain any unique situations or nonconformities with the AIA COTE Top Ten awards requirements. | 5.4 - Nonconformity Statement

## 06 Energy
6 - Design for Energy
Explanations | Calculators: Enter your values into the yellow cells. | [11 empty] | Reasonable Ranges |  | Sources
Benchmarks will auto-fill from the Introduction or the Reference Tables tab. | 6.1 - Benchmark
[10 empty] | Grid Electricity Carbon Emission Conversion Factor (?) | 0.11331 | kg CO2e/yr
|  |  |  | Site Annual Energy | 0 | kBtu/yr |  |  |  | Operational Carbon | 0 | kg CO2e/yr
|  |  |  | Site Energy Use Intensity | 0 | kBtu/sf/yr |  |  |  | Operational Carbon Intensity | 0 | kg CO2e/sf/yr
Step 1 - Use the Yes/No dropdowns to describe the presence of on-site and off-site renewable systems. For on-site systems, confirm how energy is metered by the utility company. For off-site systems, select the type sourced. Step 2 - Use the dropdowns to select the fuel types Consumed (as applicable) by your project. "DCW" stands for District Chilled Water. Step 3 - Enter the local energy cost for each fuel type (if available). The cost of renewables is calculated as negative. Step 4 - Select and confirm the unit of measurement for each fuel type, i.e. kWh or kBTU of grid electricity. Step 5 - Enter monthly Energy CONSUMPTION and PRODUCTION data from utility bills, BMS, solar array, or other metered sources. Projects can enter Annual data or start with a month other than January. For annual values delete months and replace "January" with "Annual". Months can also be rearranged as long as 12 consecutive months of data is provided. NOTE: The Energy PRODUCTION section is unlocked (inc'd green cells) and uses conditional statements to provide visual cues. Please do not copy and paste anything over these cells. | 6.2 - Measured Energy Consumption and/or Generation | [11 empty] | See the benchmarking page for reasonable ranges. |  | Fuel Cost Sources
EIA - Electricty Costs
[6 empty] | Is the building all electric? |  |  |  |  |  |  | EPA - Energy Conversions |  | EIA - Natural Gas Costs
[6 empty] | Did the project achieve its 2030 Commitment reduction target? |  |  |  |  |  |  |  |  | Table 7. Domestic sales and average price of densified biomass fuel, 2023
[6 empty] | (including on-site renewables) | [6 empty] | kBtu Conversion Table
[13 empty] | Energy Unit | Factor | National Average Values for Operational Carbon Emissions
[6 empty] | Does the project have an ON-SITE renewable energy system? |  |  |  |  | Select Yes/No |  | kBtu | 1 | Fuel Source | Emissions Factor (kg-CO2e/kBtu)
[6 empty] | Does the project use OFF-SITE renewable energy? |  |  |  |  | Select Yes/No |  | MBtu | 1000 | Electricity | 0.11331
[6 empty] | How is ON-SITE renewable energy production metered by the project's utility company? |  |  |  |  | Choose ON-SITE metering type |  | GJ | 947.817 | Biomass - Wood | 0.09505
[6 empty] | What type of OFF-SITE renewable energy is sourced? |  |  |  |  | Choose OFF-SITE renewable energy type |  | kWh | 3.4121 | Natural Gas | 0.05311
[13 empty] | MWh | 3412.14 | Propane | 0.06425
|  | Monthly Energy Data by Fuel Type | [10 empty] | Lbs | 1.194 | Fuel Oil | 0.07421
|  |  |  | Energy CONSUMPTION | [5 empty] | Energy PRODUCTION |  |  | kLbs | 1194 | District Steam / Hot Water | 0.0664
|  |  | Fuel Type/Source | Electricity | Natural Gas | DCW - Natural Gas Engine Driven | District Steam / Hot Water | Fuel Oil |  | On-Site Renewable |  | Off-Site Renewable | MLbs | 1194000 | DCW - Electric Driven | 0.0527
[10 empty] | Total Produced | Net/Excess |  | Therms | 100 | DCW - Natural Gas Absorption | 0.07389
|  |  | (?) Cost of Energy | 0.1227 | 11.34 | 0.18 | 9.39 | 217.92 |  | -0.02 | -0.02 | -0.02 | kg | 2.632 | DCW - Natural Gas Engine Driven | 0.04931
|  |  | (?) Unit of Measurement | kWh | kcf | MBtu | kLbs | Ton |  | kWh | kWh | kWh | Ton | 17480
[13 empty] | Ton Hours | 12
|  |  | Month | [7 empty] | Type entry only, do not override cells in this section. |  | cf | 1.026 | Off-Site Carbon Derating Table Sources
|  |  | January | [9 empty] | ccf | 102.6 | ASHRAE Standard 228-2023
|  |  | February | [9 empty] | kcf | 1026
|  |  | March | [9 empty] | Cubic Meters | 36.303 | Off-Site Energy Procurement Derating Table
|  |  | April | [11 empty] | Procurement Type | Factor
|  |  | May | [11 empty] | Community Renewable Energy Facility | 0.85
|  |  | June | [9 empty] | Typical Cost of Energy | Cost | Directly Owned Off-Site Renewable Energy System | 0.8
|  |  | July | [9 empty] | Electricity from Utility Grid (kWh) | 0.12 | Physical Renewable Energy PPA | 0.75
|  |  | August | [9 empty] | Natural Gas (kcf) | 11.34 | Financial (Virtual) Renewable Energy PPA | 0.75
|  |  | September | [9 empty] | District Chilled Water (MBtu) | 0.18
|  |  | October | [9 empty] | District Steam (kLBs) | 9.39 | PPA - Physical Renewable Energy Power Purchase Agreement: a contract for the purchase of renewable electricity and associated renewable energy certificate from a specific renewable electricity generator (the seller) to a purchaser of renewable electricity.
|  |  | November | [9 empty] | Biomass (Tons) | 217.92
|  |  | December | [9 empty] | Electricity Produced (kWh) | -0.02
|  |  | Annual Energy by Fuel Type | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0
|  |  | kBTU Conversion Factor | 3.4121 | 1026 | 1000 | 1194 | 17480 |  | 3.4121 | 3.4121 | 3.4121
|  |  | Annual Energy (kBtu/yr) | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0
Step 6 - Make sure a carbon conversion factor for electricity is entered in step 2 of the Introduction tab. For project locations not available on eGrid, use 852.3 lb/mWh. |  |  | Carbon Conversion Factor | 0.11331 | 0.05311 | 0.04931 | 0.0664 | 0.07421 |  | -0.11331 | -0.11331 | -0.11331
|  |  | Operational Carbon (kg-CO2e / yr) | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0
|  |  | Cost by Fuel Type | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0
Step 1 - Use the dropdowns to select the fuel types Consumed (as applicable) by your project. "DCW" stands for District Chilled Water. Step 2 - Enter the local energy cost for each fuel type (if available). The cost of renewables is calculated as negative. Step 3 - Select and confirm the unit of measurement for each fuel type, i.e. kWh or kBTU of grid electricity. Step 4 - Enter monthly Energy CONSUMPTION and PRODUCTION data from predictive energy model. Projects can enter annual data or start with a month other than January. For annual values delete months and replace "January" with "Annual". Months can also be rearranged as long as 12 consecutive months of data is provided. | 6.3 - Predicted Energy Consumption and/or Generation
Monthly Energy Data by Fuel Type
|  |  |  | Energy CONSUMPTION | [5 empty] | Energy PRODUCTION
|  |  | Fuel Type/Source | Electricity | Natural Gas | DCW - Natural Gas Engine Driven | District Steam / Hot Water | Biomass - Wood |  | On-Site Renewable | Off-Site Renewable
|  |  | (?) Cost of Energy | 0.1227 | 11.34 | 0.18 | 9.39 | 217.92 |  | -0.02 | -0.02
|  |  | (?) Unit of Measurement | kWh | kcf | MBtu | kLbs | Ton |  | kWh | kWh
Month
January
February
March
April
May
June
July
August
Step 5 - Make sure a carbon conversion factor for electricity is entered in step 2 of the Introduction tab. For project locations not available on eGrid, use 852.3 lb/mWh. |  |  | September
October
November
December
|  |  | Annual Energy by Fuel Type | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
|  |  | kBTU Conversion Factor | 3.4121 | 1026 | 1000 | 1194 | 17480 |  | 3.4121 | 3.4121
|  |  | Annual Energy (kBtu/yr) | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
|  |  | Carbon Conversion Factor | 0.11331 | 0.05311 | 0.04931 | 0.0664 | 0.09505 |  | -0.11331 | -0.11331
|  |  | Operational Carbon (kg-CO2e / yr) | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
|  |  | Cost by Fuel Type | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
Negative values for percent reduction indicate an increase in energy or carbon from the benchmark. | 6.4 - Annual Energy Use and Carbon Summary | [11 empty] | Negative values for percent reduction indicates an increase in energy use.
|  |  | Annual Energy CONSUMPTION | Measured | Predicted |  |  |  | Annual Operational Carbon CONSUMPTION | Measured | Predicted
|  |  | Electricity | 0 | 0 | kBtu/yr |  |  | Electricity | 0 | 0 | kg-CO2e/yr
|  |  | All Other Fuel Sources | 0 | 0 | kBtu/yr |  |  | All Other Fuel Source | 0 | 0 | kg-CO2e/yr
|  |  | Energy Consumption Subtotal | 0 | 0 | kBtu/yr |  |  | Consumption Carbon Subtotal | 0 | 0 | kg-CO2e/yr
|  |  | Gross Energy Use Intensity (EUI) | 0 | 0 | kBtu/sf/yr |  |  | Gross Operational Carbon Intensity | 0 | 0 | kg-CO2e/sf/yr
[10 empty] | 0 | 0 | kg-CO2e/m2/yr
|  |  | Annual Energy PRODUCTION | [5 empty] | Annual Operational Carbon PRODUCTION
|  |  | On-Site Electricity | 0 | 0 | kBtu/yr |  |  | On-Site Electricity | 0 | 0 | kg-CO2e/yr
|  |  | Off-Site Electricity | 0 | 0 | kBtu/yr |  |  | Off-Site Electricity | 0 | 0 | kg-CO2e/yr
|  |  | Energy Production Subtotal | 0 | 0 | kBtu/yr |  |  | Production Carbon Subtotal | 0 | 0 | kg-CO2e/yr
|  |  | Net Annual Energy | 0 | 0 | kBtu/yr |  |  | Net Annual Operational Carbon | 0 | 0 | kBtu/yr
|  | Percent of Total Annual Energy from | [5 empty] | Percent Carbon Reduction from Benchmark
|  |  | On-Site Renewables | 0% | 0% |  |  |  | Inclusive of Renewables
|  |  | Off-Site Renewables | 0% | 0% |  |  |  | Exclusive of Renewables | 0% | 0%
|  | Percent Energy Reduction from Benchmark | [5 empty] | Annual Cost
|  |  | Inclusive of Renewables | 0% | 0% |  |  |  | Annual Cost (Net Metered) | 0 | 0 | $
|  |  | Exclusive of Renewables | 0% | 0%
Lighting Power Density: Calculate the total installed LPD for your building. Window-to-Wall Ratio: Fill out either the building aggregate WWR or by façade orientation. Generally less that 40% WWR will be the most energy efficient. | 6.5 - Lighting Power Density (LPD) | [5 empty] | 6.6 - Window-Wall-Ratio (WWR) | [5 empty] | Lighting Power Density
[13 empty] | Use ASHRAE Standard 90.1-2007 as the benchmark. Best practice is to achieve at least a 20% reduction from the benchmark |  | ASHRAE Standard 90.1-2007 Lighting Power Density: Table 9.5.1 for Building Area Method or 9.6.1 for Space-by-Space
|  | Installed (LPD) |  | W/sf |  |  |  | North |  | East |  | %
|  | Benchmark (LPD) | 0 | W/sf |  |  |  | South |  | West |  | %
|  | LPD Reduction | 0% | [9 empty] | Window Wall Ratio (WWR)
[8 empty] | Building Aggregate |  |  |  |  | 30% to 40% is ideal. A higher WWR will significantly increase energy use without improving daylighting. |  | CBECS Table C4. Sum of major fuel consumption and expenditure gross energy intensities , 2012
Use this section to explain any unique situations or nonconformities with the AIA COTE Top Ten awards requirements. | 6.7 - Nonconformity Statement

## 07 Well-Being
7 - Design for Well-Being
Explanations | Calculators: Enter your values into the yellow cells. |  |  |  | Reasonable Ranges |  |  |  |  | Sources
Step 1: Input the area of occupied spaces that have access to views, operable windows, daylight, and compliance with the annual solar exposure area criteria. For quality views, include workstations that have a direct line of sight to nature. | 7.1 - Daylighting and Quality Views
[6 empty] | Views | Daylight | Glare
|  | Total area of regularly occupied space | 0 | sf | Good | >75% | >65% | >10%
|  | Percent of building that is regularly occupied |  |  | Better | >90% | >75% | 2-10%
[5 empty] | Very High Performing | 100% | >85% | <2%
|  | Was daylight modeling performed? |  | 
Daylighting
|  | Daylit area (sDA 300/50%) |  | sf
|  | Area that experiences glare (ASE 1000,250) |  | sf
|  | Are daylight sensors installed? |  | 
|  | Percent of Regularly Occupied Area that is Daylit | 0%
|  | Percent of Regularly Occupied Area that Experiences Glare | 0%
Quality Views
|  | Area with quality views |  | sf
|  | Percent of Regularly Occupied Area with Quality Views | 0%
Giving occupants control over their immediate environment, specifically thermal and visual conditions can increase productivity, comfort, and well-being. Use the dropdowns to select Yes/No for each criterion as applicable to your project. Multi-occupant and individual spaces are defined by LEED, use the Environmental Quality Space Type Matrix (link under Source section) to determine how to classify spaces and correctly answer Occupant Control questions. | 7.2 - Occupant Control | [8 empty] | ASHRAE 62.1–2010, Appendix C
Read-only versions are available for web preview
Operable Windows
|  | Does the project have naturally ventilated spaces? |  |  | [5 empty] | Environmental Quality Space Type Matrix
|  | Are naturally ventilated spaces designed to meet ASHRAE 62.1–2010? (?) |  | 
0
Do at least 50% of individual occupant spaces and ALL multi-occupant spaces
have access to thermal comfort controls that allow for adjustment to ...
|  | Air Temperature |  | 
|  | Radiant Temperature |  | 
|  | Air Speed |  | 
|  | Humidity |  | 
0
Can occupants adjust lighting levels or select lighting scenes in...(?)
|  | at least 90% of individual occupant spaces? |  | 
|  | all multi-occupant spaces? |  | 
0
|  | Occupant Control Score | 0%
Input information on indoor air quality measurements. | 7.3 - Indoor Air Quality Management |  |  |  |  | Max. Concentration
[5 empty] | Contaminant |  | All Spaces | Healthcare |  | See USGBC LEED v4 Table
|  | If the project is in a humid climate, is standalone dehumidification installed? |  |  | Particulates | PM10 | 50 | 20 | ug/m3 | Table 1. Maximum concentration levels, by contaminant and testing method
|  | What level of air filters are installed? |  |  | Particulates | PM2.5 | 15 | 15 | ug/m3
|  | Other: |  |  | Ozone | O3 | 0.075 | 0.75 | ppm
[5 empty] | Carbon monoxide | CO | 9 | 9 | ppm | CO2 Sensor Monitoring Methodology
|  | Contaminant Monitoring |  |  | Total Volatile Organic Compounds | VOCs | 500 | 200 | ug/m3 | ASHRAE 62.1–2010, Appendix C
|  | Is air quality monitored on an on-going basis? |  |  | Formaldehyde | CH2O | 27 | 16.3 | ppb | Read-only versions are available for web preview
[5 empty] | Targeted Volatile Organic Compounds | See USGBC LEED v4 Table
Which IAQ Contaminants are monitored?
|  | PM2.5 |  | 
|  | PM10 |  | 
|  | Ozone |  | 
|  | CO |  | 
|  | Formaldehyde |  | 
Other:
Carbon Dioxide (CO2) Monitoring
|  | Is CO2 measured? |  | 
|  | What is the design goal for maximum CO2 when spaces are fully occupied? |  | ppm
|  | What is the maximum measured CO2 when spaces are fully occupied? |  | ppm
|  | Is this goal relative to outdoor CO2 levels or an absolute value? |  | 
|  | No. of densely occupied spaces (>25 people/1000 sf) in the project? |  | qty
|  | No. of densely occupied spaces with CO2 sensor monitoring? |  | qty
|  | Percent of densely occupied spaces with CO2 sensor monitoring | 0% | %
Targeted Volatile Organic Compounds Monitoring
|  | Are VOCs measured? |  | 
|  | Max Measured VOC Level |  | ppb
Input the total number of materials that have a third-party health certification in the yellow box. Note: HPD is not always a third-party health certification. It can be third party, but can also be self-reporting, and it's not a certification, it's a transparency label. -AND/OR- Input how chemicals were avoided per banned list certification, standard, or label. | 7.4 - Healthy Materials Inventory | [8 empty] | Declare
HPD Collaborative
|  | Third-Party Certification, Standard, or Label Material/Product | Quantity | [6 empty] | Cradle to Cradle
|  | Declare | [7 empty] | Level
|  | Health Product Declaration | [7 empty] | UL Lense
|  | Cradle to Cradle | [7 empty] | Living Product Challenge
Level
UL Product Lens
|  | Living Product Challenge | [7 empty] | Living Building Challenge Red List
|  | Other: | [7 empty] | Six Classes
|  | Other: | [7 empty] | WELL Building Standard
|  | Other: | [7 empty] | Healthier Hospitals Initiative Safer Chemicals
|  | No. of Materials/Products | 0 | [6 empty] | Kaiser Permanente Facilities Design Program
Harvard's Green Building Standards
|  | Were materials and products selected using a banned list approach? |  | 
Identify banned list programs that influenced healthy material selection:
|  | Living Building Challenge Red List |  | 
|  | Six Classes |  | 
|  | WELL Building Standard |  | 
|  | Healthier Hospitals Initiative Safer Chemicals |  | 
|  | Kaiser Permanente Facilities Design Program |  | 
|  | Harvard's Green Building Standards |  | 
|  | Other: |  | 
|  | Other: |  | 
Use this section to explain any unique situations or nonconformities with the AIA COTE Top Ten awards requirements. | 7.5 - Nonconformity Statement

## 08 Resources
8 - Design for Resources
Explanations |  | Calculators: Enter your values into the yellow cells. |  |  | Reasonable Ranges | [6 empty] | Sources
8.1 - Operational Carbon (Reference from 6-Energy)
|  |  | Measured | Predicted
|  | Production Carbon Subtotal | 0 | 0
|  | Gross Operational Carbon Intensity | 0 | 0
|  | Percent Carbon Reduction from Benchmark | 0% | 0%
How much floor area was already existing? What building elements were reused or adapted? | 8.2 - Building Reuse ¦ Life Span |  |  |  | Whenever possible, existing buildings should be reused.
|  | Floor Area that was Reused or Adapted |  | sf
|  | Percentage of Floor Area that was Reused or Adapted | 0% | %
Building Elements Reused
There are a variety of tools for estimating the embodied carbon of an entire building. The simplest is Build Carbon Neutral, which only takes a few minutes and inputs. For a more detailed analysis, try Tally or Athena | 8.3 - Embodied Carbon ¦ Tools and Scope | [7 empty] | kg CO2e/sf |  |  | deQo database of embodied quantity outputs. MIT Building technology program
[5 empty] | Building Type | Low | Low | Avg | Avg | High | High
|  | What tool was used to calculate embodied carbon? |  |  | Single family | 138 | 12.8253 | 277 | 25.7435 | 512 | 47.5836 | Carbon Leadership Forum | kg/m2 to lb/ft2
|  | Other: |  |  | Multifamily low-rise | 127 | 11.803 | 159 | 14.777 | 202 | 18.7732 |  | 0.20482
|  | What is the tool version? |  |  | Multifamily mid-rise | 134 | 12.4535 | 168 | 15.6134 | 647 | 60.1301
|  | Does the tool include biogenic carbon?(?) |  |  | Multifamily high-rise | 111 | 10.316 | 257 | 23.8848 | 424 | 39.4052 |  | 4.8824
|  | Does the tool/model include carbon from the site/landscape? |  |  | Office | 86 | 7.9926 | 329 | 30.5762 | 661 | 61.4312
[5 empty] | Educational | 109 | 10.1301 | 389 | 36.1524 | 927 | 86.1524 |  | kg/m2 to kg/ft2
|  | What is Included in the LCA System Boundary? |  |  | Healthcare | 118 | 10.9665 | 378 | 35.1301 | 652 | 60.5948 |  | 10.76
|  | Product (A1-A3) |  |  | Cultural/Institutional | 33 | 3.0669 | 418 | 38.8476 | 910 | 84.5725 |  | 0.092937
|  | Construction (A4-A5) |  |  | Civic building | 106 | 9.8513 | 240 | 22.3048 | 436 | 40.5204
|  | Use (B1-B5) |  |  | Lodging | 153 | 14.2193 | 356 | 33.0855 | 542 | 50.3717
|  | End of Life (C1-C4) |  |  | Industrial | 535 | 49.7212 | 741 | 68.8662 | 1177 | 109.3866
|  | Beyond (D) |  |  | Public Assembly | 127 | 11.803 | 377 | 35.0372 | 935 | 86.8959
|  | Indicate the LCA Scope |  |  | Mixed Use (Residential/Office/Retail) | 176 | 16.3569 | 380 | 35.316 | 870 | 80.855
|  | Substructure |  | 
|  | Superstructure |  |  |  |  |  |  | kg CO2e/sf
|  | Enclosure |  |  | Structural System Type | Low | Low | Avg | Avg | High | High
|  | Interiors |  |  | Steel | 127 | 11.803 | 371 | 34.4796 | 979 | 90.9851
|  | MEP Systems |  |  | Concrete | 111 | 10.316 | 361 | 33.5502 | 668 | 62.0818
|  | Site/Landscape |  |  | Timber | 47 | 4.368 | 244 | 22.6766 | 437 | 40.6134
|  | Other: |  |  | Masonry | 209 | 19.4238 | 272 | 25.2788 | 370 | 34.3866
[5 empty] | Composite Concrete - Steel | 86 | 7.9926 | 355 | 32.9926 | 743 | 69.052
|  | Major Structural System?(?) |  |  | Hybrid - 50% Timber + 50% Steel | 87 | 8.0855 | 307.5 | 28.5781 | 708 | 65.7993
[5 empty] | Hybrid - 50% Timber + 50% Concrete | 79 | 7.342 | 302.5 | 28.1134 | 552.5 | 51.3476
| 8.4 - Embodied Carbon ¦ Calculations and Strategies |  |  |  | Higher Embodied Carbon Score is better. | [6 empty] | Build Carbon Neutral
EPiC
|  | If embodied carbon wasn't modeled, use Build Carbon Neutral to complete this section. | [9 empty] | CARE
|  | Total Predicted Embodied Carbon |  | kg CO2e
|  | Embodied Carbon Intensity | 0 | kg CO2e / sf
Major Strategies for Reducing Embodied Carbon
|  | Wood Structure |  | 
|  | Optimized Concrete Admixtures |  | 
|  | Reduction in Total Materials |  | 
|  | Low-Carbon Insulation |  | 
|  | Low-Carbon Exterior Cladding Material |  | 
|  | Reduction in Glazing |  | 
|  | Low-Carbon Refrigerants |  | 
Other:
|  | Embodied Carbon Reduction Score | 0%
"An Environmental Product Declaration (EPD) is a document that communicates verified, transparent and comparable information about the life-cycle environmental impact of products." - International EPD System List EPD (or similar certifications) collected for materials used and tally up the total number. | 8.5 - Environmental Product Declarations (EPDs) |  |  |  | For materials with EPDs or similar certification, the more the better. | [6 empty] | Environmental Product Declaration (EPD)
|  | Type of EPD | Quantity
Industry-Wide
Product Specific Type III, Internally Reviewed
Product Specific Type III, Externally reviewed
|  | No. of EPDs Collected | 0
Weighing and recording dumpster fills during construction is best practice, but a good estimate will do as well. | 8.6 - Construction Waste Diversion |  |  |  | Percent Waste Diverted | [6 empty] | Living Building Challange: Net Positive Waste
50% - Good
|  | Percent of Construction Waste Diverted |  | % | 75% - Better
|  | Is the above number estimated or measured? |  |  | 90% - Best!
Estimate the total value of materials that were recycled, local, or certified by third-party programs. Regional Materials: Don't worry about staying in a specific radius from the site. Use your best judgment to determine which materials were harvested or manufactured "locally" Recycled Materials: Include all materials that contain some component or ingredient that is reused or recycled. Reused/Salvaged Materials: Materials can be found on or off-site Biobased Materials: The definition and percentage of biobased materials, by weight, is determined by ASTM D6866. Sustainably Harvested Wood: How many wood products not reused, salvaged, or recycled, are certified to the standards of the Forest Stewardship Council (FSC)? | 8.7 - Recycled ¦ Regional ¦ Reused ¦ Third-Party Certification Materials |  |  |  | Generally, the more reused, recycled, FSC certified and/or local materials, the better.
|  | Total Construction Cost | 0 | $
|  | Total Materials Cost |  | $
|  | Total Material Cost for Wood Products |  | $
|  | Are the costs in this section estimated or actual? |  | 
Recycled Materials
|  | Cost of Recycled Materials |  | $
|  | Percent of Materials Recycled | 0%
Regional Materials
|  | Cost of Regional Materials |  | $
|  | Percent of Materials Regional | 0%
Reused/Salvaged Materials
|  | Cost of Reused/Salvaged Materials |  | $
|  | Percent of Materials Reused/Salvaged | 0%
Biobased Materials
|  | Cost of Biobased Materials |  | $
|  | Percent of Materials Biobased | 0%
Sustainably Harvested Wood
|  | Cost of FSC Wood |  | $
|  | Percentage of Wood that is FSC Certified | 0%
Use this section to explain any unique situations or nonconformities with the AIA COTE Top Ten awards requirements. | 8.8 - Nonconformity Statement
A1
A2
A3
A4
A5
B1
B2
B3
C1
C2
C3
D
B4
B5
C4
Interior Walls
Floors
Ceilings
Roof
Structure
Foundation
Exterior Walls

## 09 Change
9 - Design for Change
Explanations |  | Calculators: Enter your values into the yellow cells. |  |  | Reasonable Ranges |  |  | Sources
Choose the local hazards researched | 9.1 - Local Hazard Research |  |  |  | Local Hazard Research
[5 empty] | Baseline | 0
|  | Was research conducted on the most likely local hazards? |  |  | Fine | 1
|  | Hail |  |  | Good | 2
|  | Earthquakes |  |  | Better | 3
|  | Drought |  |  | High Performing | 4
|  | Extreme Temperatures |  |  | Very High Performing | >5
|  | Flooding |  | 
|  | Pandemic / Epidemic |  | 
|  | Social Unrest |  | 
|  | Power Outage |  | 
|  | Grid Instability |  | 
|  | Other: |  | 
|  | Research Score | 0%
Choose the most relevant description of passive functionality and type of backup power from the dropdown to determine your resiliency score. Passive survivability in this context refers to the building envelope being designed to maintain comfortable thermal conditions indoors in the event of extended loss of power. | 9.2 - Resiliency |  |  |  | Passive Functionality
[5 empty] | Not Habitable without Power | 0 | 0%
|  | Choose passive functionality |  |  | Passive Survivability | 1 | 33%
|  | Passive Functionality Score |  |  | Partial Backup Power | 2 | 66%
[5 empty] | Full Backup Power | 3 | 100%
|  | Type of Backup Power |  | 
|  | Backup Power Score |  |  | Type of Backup Power
[5 empty] | Fossil Fuel Generator | 0 | 0%
|  | Resiliency Score | 0% |  | Grid Energy w/Battery | 1 | 50%
[5 empty] | Renewable Energy w/Battery | 2 | 100%
None
Input the building's design lifespan. The design lifespan is based on a variety of design choices such as material durability, functional adaptability, and water management. | 9.3 - Building Lifespan |  |  |  | Building Design Lifespan
[5 empty] | Market rate stick frame | 30 year
|  | Building Design Lifespan |  | Yrs | Typical single family | 50 years
|  | Was the building designed for disassembly? |  |  | Concrete, Steel, or Heavy timber | 200 years
[5 empty] | Solid Masonry | 1000 years
Projected No. of Years before Requiring Major Investment
|  | Enclosure |  | Yrs | For the most part, the longer the lifespan, the better.
|  | MEP Systems |  | Yrs
|  | Interior Fit-out |  | Yrs
Use this section to explain any unique situations or nonconformities with the AIA COTE Top Ten awards requirements. | 9.4 - Nonconformity Statement

## 10 Discovery
10 - Design for Discovery
Explanations |  | Calculators: Enter your values into the yellow cells. |  |  | Reasonable Ranges |  |  | Sources
Select the commissioning activities that were performed to ensure the building functions as designed. | 10.1 - Level of Commissioning |  |  |  | The higher the score, the better
What process did you undertake to ensure the systems/assemblies function as designed?
|  | Basic Commissioning |  | 
|  | Enhanced Commissioning (Third Party) |  | 
|  | On-Going Commissioning |  | 
|  | Enclosure Commissioning |  | 
|  | Commissioning Score | 0%
Select all the post occupancy strategies that were employed. | 10.2 - Level of Post Occupancy Engagement |  |  |  | The higher the score, the better
Which of the following did you do to stay engaged with the building?
|  | Contacted the owner to see how things are going |  | 
|  | Obtained utility bills or metered data to analyze energy/water use |  | 
|  | On-site daylight measurements |  | 
|  | Indoor air quality measurement |  | 
|  | Occupant satisfaction survey |  | 
|  | Infrared photography |  | 
|  | Teach occupants and operators how to engage with sustainable design features |  | 
|  | Post Occupancy Evaluation Score | 0%
Select all the transparency strategies that were employed. | 10.3 - Level of Transparency |  |  |  | The higher the score, the better
Which of the following did you do to share the lessons of the project?
|  | Present the design of the project to the office |  | 
|  | Present the design of the project to the profession |  | 
|  | Present the design of the project to the public |  | 
|  | Publish post-occupancy data from the building |  | 
other:
|  | Present outcomes and lessons learned to the office |  | 
|  | Present outcomes and lessons learned to the profession |  | 
|  | Present outcomes and lessons learned to the public |  | 
|  | Publish any lessons learned from design, construction, or occupancy |  | 
other:
|  | Transparency Score | 0%
Select the level of occupancy feedback. | 10.4 - Level of Occupant Feedback |  |  |  | Level of Occupant Feedback
[5 empty] | Nobody | 0 | Baseline
|  | Who has access to performance feedback? |  |  | Building Operator | 1 | Fine
|  |  |  |  | Architect | 2 | Good
[5 empty] | Occupants who specifically request it | 3 | Better
|  | Feedback Score | 0% |  | Most occupants | 4 | High Performing
[5 empty] | All occupants are presented with feedback | 5 | Very High Performing
Use this section to explain any unique situations or nonconformities with the AIA COTE Top Ten awards requirements. | 10.5 - Nonconformity Statement

## AIA COTE Top 10 Award Summary
This summary tab includes mandatory metrics for the AIA COTE Top 10 Awards application submission ONLY, see the Results Tab for a summary of all metrics.
AIA COTE Top Ten Award Mandatory Metric Summary
#N/A
2 - Design for Equitable Communities
2.1 - Social Cost of Carbon
| 10-yr Social Cost of Carbon | 0 |  | $ / kg CO2e
3 - Design for Ecosystems
3.1 - Landscaped Area
| Percent of Site Area Vegetated - Pre-Development | 0% |  | %
| Percent of Site Area Vegetated - Post-Development | 0% |  | %
| Increase in Percent of Vegetated Area - Post-Development | 0% |  | %
3.2 - Quality of Vegetation
| Vegetation Quality Score - Pre-Development | 0% |  | %
| Vegetation Quality Score - Post-Development | 0% |  | %
3.3 - Vegetation Carbon Balance
| Was carbon balance of the landscape modeled? | 0 |  | Y/N
| 10-yr Landscaping Carbon Intensity | 0 |  | kg CO2e / sf
4 - Design for Water
4.6 - Annual Potable Water Use Summary
| Water Use Intensity - Benchmark | 0 |  | gal / sf / yr
| Water Use Intensity - Predicted | 0 |  | gal / sf / yr
| Percent Reduction in Potable Water Use from Benchmark - Predicted | 0% |  | %
| Percent of Total Annual Water Demand Met Using Potable Sources - Predicted | 0% |  | %
| Percentage of Stormwater Managed On-site | 0% |  | %
5 - Design for Economy
5.1 - Construction Cost Benchmark
| Construction Cost per Square Foot |  |  | $/sf
6 - Design for Energy
6.2 - Measured Energy Consumption and/or Generation
| Is the building all-electric? | 0 | 0 | Y/N
| Did the project achieve its 2030 Commitment reduction target? | 0 | 0 | Y/N
6.4 - Annual Energy Use and Carbon Summary
| Percent Reduction (inclusive of renewables) from Benchmark - Measured | 0% |  | %
| Percent of Total Energy from On-Site Renewable Source - Measured | 0% |  | %
| Percent of Total Energy from Off-Site Renewable Source - Measured | 0% |  | %
| Percent Reduction in Operational Carbon (inclusive of renewables) from Benchmark - Measured |  |  | %
| Project’s total carbon (embodied + operational) over 10 years | 0 |  | kg-CO2e
7 - Design for Well-Being
7.1 - Daylighting and Quality Views
| Was daylight modeling performed? | 0 |  | Y/N
| Percent of Regularly Occupied Area that is Daylit | 0% |  | %
| Percent of Regularly Occupied Area that Experiences Glare | 0% |  | %
| Percent of Regularly Occupied Area with Quality Views | 0% |  | %
7.2 - Occupant Control
| Occupant Control Score | 0% |  | %
7.3 - Indoor Air Quality Management
| What is the design goal for maximum CO2 when spaces are fully occupied? | 0 |  | ppm
| Is this goal relative to outdoor CO2 levels or an absolute value? | 0
8 - Design for Resources
8.2 - Building Reuse ¦ Life Span
| Percentage of Floor Area that was Reused or Adapted | 0% |  | %
8.3 - Embodied Carbon ¦ Tools and Scope
| Was embodied carbon modeled? | No |  | Y/N
8.4 - Embodied Carbon ¦ Calculations and Strategies
| What is the Project's Embodied Carbon Intensity? | 0 |  | kg-C02e / sf
8.7 - Recycled ¦ Regional ¦ Reused ¦ Third-Party Certification Materials
| Percentage of Installed wood that is FSC Certified | 0% |  | %
9 - Design for Change
9.1 - Local Hazard Research
| Research Score | 0% |  | %
9.2 - Resiliency
| Resiliency Score | 0% |  | %
10 - Design for Discovery
10.2 - Level of Post Occupancy Engagement
| Post Occupancy Evaluation Score | 0% |  | %
`

## Results (hidden)
|  | Baseline | Response | Very High Performance
This page compares metrics against their benchmark along a scale from "Baseline" to "Very High Performance"
2 - Design for Equitable Communities
| 10-yr Social Cost of Carbon |  | 0 | $ | THE BIG IDEA:
| 10-yr Social Cost of Carbon Intensity |  | 0 | $ / kg-CO2eq
| Walk Score | 0 | 0 | 100
| Transit Score | 0 | 0 | 100
| Bike Score | 0 | 0 | 100
| Transportation Carbon Percent Reduction | 0% | 0% | 100%
3 - Design for Ecosystems
| Percent of Site Area Vegetated - Post-Development | 0% | 0% | 100%
| Percent of Site Area Vegetated - Pre-Development | 0% | 0% | 100%
| Increase in Percent of Vegetated Area - Post-Development | 0% | 0% | 100%
| Vegetation Quality Score - Post-Development | 0% | 0% | 100%
| Vegetation Quality Score - Pre-Development | 0% | 0% | 100%
| Increase in Percent of Trees | 0% | 0% | 100%
| 10-yr Landscaping Carbon Intensity |  | 0% | kg CO2e/sf
| Percent of Hardscaped Area Shaded or High Albedo - Post-Development | 0% | 0% | 100%
| Percent of Hardscaped Area Shaded or High Albedo - Pre-Development | 0% | 0% | 100%
| Increase in Heat Island Mitigation - Post Development | 0% | 0% | 100%
4 - Design for Water |  |  |  |  | Total Carbon Calculations
| Percent Potable Water Use Reduction - Measured | 0% | 0% | 100%
| Percent Potable Water Use Reduction - Predicted | 0% | 0% | 100%
| Percent Reduction in Outdoor Water Use | 0% | 0% | 100% |  | Total kg of Carbon Dioxide Equivalents from:
| Percentage of Stormwater Managed On-site | 0% | 0% | 100% |  |  | Lifespan |  | Operational Carbon | Embodied Carbon | Total
| Runoff Quality Score | 0% | 0% | 100% |  |  | 1 | Year | 0 | 0 | 0
[7 empty] | 10 | Year | 0 | 0 | 0
5 - Design for Economy |  |  | \ |  |  |  | 30 | Year | 0 | 0 | 0
| Construction Cost Reduction from the Benchmark | 0% | 0% | >50% |  |  | 60 | Year | 0 | 0 | 0
| Efficiency ratio percent improvement | 0% | 0% | >50% |  | Design | 0 | Year | 0 | 0 | 0
6 - Design for Energy | [5 empty] | Total Percentage of Carbon Dioxide Equivalents from:
| Percent Energy Reduction from Benchmark - Inclusive of Renewables - Measured | 0% | 0% | >100% |  |  | Lifespan |  | Operational Carbon | Embodied Carbon | Total
| Percent Energy Reduction from Benchmark - Inclusive of Renewables - Predicted | 0% | 0% | >100% |  |  | 1 | Year |  |  | 0%
| Percent Energy Reduction from Benchmark - Exclusive of Renewables - Measured | 0% | 0% | 100% |  |  | 10 | Year |  |  | 0%
| Percent Energy Reduction from Benchmark - Exclusive of Renewables - Predicted | 0% | 0% | 100% |  |  | 30 | Year |  |  | 0%
| Percent of Total Annual Energy from On-Site Renewables - Measured | 0% | 0% | 100% |  |  | 60 | Year |  |  | 0%
| Percent of Total Annual Energy from On-Site Renewables - Predicted | 0% | 0% | 100% |  | Design | 0 | Year |  |  | 0%
| Percent of Total Annual Energy from Off-Site Renewables - Measured | 0% | 0% | 100%
| Percent of Total Annual Energy from Off-Site Renewables - Predicted | 0% | 0% | 100%
| Percent Carbon Reduction from Benchmark - Measured | 0% | 0% | 100%
| Percent Carbon Reduction from Benchmark - Predicted | 0% | 0% | 100%
| LPD Reduction | 0% | 0% | 75%
7 - Design for Well-Being
| Percent of Regularly Occupied Area that is Daylit | 0% | 0% | 100%
| Percent of Regularly Occupied Area that Experiences Glare | 100% | 0% | 0%
| Percent of Regularly Occupied Area with Quality Views | 0% | 0% | 100%
| Occupant Control Score | 0% | 0% | 100%
| Is CO2 measured? | No (0) | FALSE | Yes (1)
| Percent of densely occupied spaces with CO2 sensor monitoring | 0% | 0% | 100%
| Number of Materials with Third-Party Certification, Standard, or Label | 0 | 0 | >80
| Were materials and products selected using a banned list approach? | No (0) | FALSE | Yes (1)
8 - Design for Resources
| Percentage of Floor Area that was Reused or Adapted | 0% | 0% | 100%
| #REF! | No (0) | #REF! | Yes (1)
| Total Predicted Embodied Carbon |  | 0 | kg CO2e
| Embodied Carbon Intensity |  | 0 | kg CO2e/sf
| Embodied Carbon Reduction Score | 0% | 0% | 100%
| No. of EPDs Collected | 0 | 0% | >10
| Percent of Construction Waste Diverted | 0% | 0% | 100%
| Percent of Materials Recycled | 0% | 0% | 100%
| Percent of Materials Regional | 0% | 0% | 100%
| Percent of Materials Reused/Salvaged | 0% | 0% | 100%
| Percent of Materials Biobased | 0% | 0% | 100%
| Percentage of Wood that is FSC Certified | 0% | 0% | 100%
9 - Design for Change
| Research Score | 0% | 0% | 100%
| Resiliency Score | 0% | 0% | 100%
| Building Design Lifespan | 30 |  | 200
10 - Design for Discovery
| Commissioning Score | 0% | 0% | 100%
| Post Occupancy Evaluation Score | 0% | 0% | 100%
| Transparency Score | 0% | 0% | 100%
| Feedback Score | 0% | 0% | 100%

## Reference Tables
Benchmarking
Explanation
Notes on the benchmarking data set: All benchmark values are national averages (CBECS 2003) to align with the AIA COTE Top Ten submission instruction and to keep the values simple, accurate, and comparable across all projects. We understand the subtleties of regional benchmarks and know that they can be helpful in some circumstances, but we also realize that the disproportionally important "predicted energy use reduction" metric can easily be manipulated by overly specific benchmarks. In an effort to avoid the gamification of energy reduction metrics and to refocus project team efforts towards design strategies that contribute to better performance, we have concluded that benchmarking is best if it's quick, simple, and broadly applicable. Using national average benchmarking accomplishes this goal. Notes on program types: 1. Single-family homes are benchmarked for annual energy and water consumption rather than per square foot. This is because all single-family homes serve the same functional purpose, regardless of size. Regional and density variations are included for single-family houses since they are typically more envelope-dominated than other building types. 2. Laboratories already assume to have some percentage of office space. Select 100% for all laboratory projects. 3. Water benchmarks for restaurants are best based on gallon/seat or gallon/meal served, but for purposes of simplicity, an average gallon/sf is used. | Building Type Definitions and Benchmarks | [13 empty] | Fuel Source Breakdowns and Water Use by Building Category | [11 empty] | National Average Values for Operational Carbon Emissions |  | Single Family Residential Benchmarking1 |  |  |  |  | Region by State |  | Default Fixture Usage by Water Use Type
| Sources | [13 empty] | Sources | [11 empty] | Sources |  | Project-based figures noted in blue |  |  |  |  | Project-based figures noted in blue |  | Usage assumes 50%/50% male-female and takes duration into account.
| CBECS: Energy Consumption by Building Type 2003 | [13 empty] | CBECS: Energy Consumption by source 2012 | [11 empty] | Energy Star Portfolio Manager Emission Factors
| RECS: Annual household site fuel Consumption 2015 | [13 empty] | RECS: Annual household site fuel Consumption 2015
| AIA 2030 | [13 empty] | CBECS Table W1. Water consumption 2012
| CBECS: Building type definitions | [13 empty] | EPA WaterSence - Residential Water Use
EPA v CBECS Comparison
*EPA Energy Start Data Trends
**Savetexaswater.org Analsysis
| Building Type | Reference Site EUI1,2 (kBtu/sf/yr) | LPD (W/sf) | Building Category | Water Use Type | Site EUI (kBtu/sf/yr) | Emissions Factor (kg-CO2e/kBtu) (?) | Operational Carbon Intensity (kg-CO2e/sf/yr) | Water Use Intensity (Gal/sf/yr) | Toilet (#/person/day) | Urinal (#/person/day) | Shower (min/person/day) | Lavatory (min/person/day) | Kitchen Faucet (min/person/day) | Building Category | Reference Water Use1 (Gal/yr) | Reference Water Use Intensity3 (Gal/sf/yr) | Electricity | Natural Gas | Fuel Oil | District Steam / Hot Water | Propane | Unaccounted Fuel Sources (?) | Water Use Intensity (Gal/sf/yr) | Cost | Emissions Factor (kg-CO2e/kBtu) (?) | Fuel Source | Emissions Factor (kg-CO2e/kBtu) | Region | Type | Region - Type | Annual Energy Use (kBtu/yr) | Project-Based EUI (kBtu/sf/yr) | State | Region | Water Use Type | Toilet (#/person/day) | Urinal (#/person/day) | Shower (min/person/day) | Lavatory (min/person/day) | Kitchen Faucet (min/person/day)
| Reference Table Column Index | [5 empty] | 12 |  | 10 | 2 | 3 | 4 | 5 | 6 | Emissions Factor |  |  | 0.11331 | 0.05311 | 0.07421 | 0.0664 | 6.425% | [7 empty] | 0 | - 0 | 0 | 0 | 0
| Bank | 77 | 1 | Office | Commercial | 77 | 0.096189 | 7.4066 | 14.5 | 2 | 1 | 0.5 | 1.5 | 0.25 | Education |  | 14.6 | 54.39% | 34.56% | 3.325% | 7.72% | 0% | 0% | 14.6 |  | 0.096262 | Electricity | 0.11331 | Midwest | Rural | Midwest - Rural | 111300 |  | AK | West | Commercial | 2 | 1 | 0.5 | 1.5 | 0.25
| Bar / night club | 52 | 1.2 | Public assembly | Commercial | 52 | 0.090287 | 4.6949 | 26.2 | 2 | 1 | 0.5 | 1.5 | 0.25 | Enclosed and strip malls |  | 11.3 | 66% | 34% |  |  | 0% | 0% | 11.3 |  | 0.09284 | Biomass - Wood | 0.09505 | Midwest | Suburban | Midwest - Suburban | 112800 |  | AL | South | Residential | 5 | 0 | 8 | 5 | 4
| Convention Center | 66 | 1.1 | Public assembly | Commercial | 66 | 0.090287 | 5.9589 | 26.2 | 2 | 1 | 0.5 | 1.5 | 0.25 | Food sales |  | 23.7 | 79.39% | 20.23% |  |  | 0% | 0.3817% | 23.7 |  | 0.1007 | Natural Gas | 0.05311 | Midwest | Urban | Midwest - Urban | 112800 |  | AR | South
| Courthouse | 118 | 1.2 | Office | Commercial | 118 | 0.096189 | 11.3503 | 14.5 | 2 | 1 | 0.5 | 1.5 | 0.25 | Food service |  | 25.1 | 54.28% | 44.16% |  |  | 0% | 1.556% | 25.1 |  | 0.084959 | Propane | 0.06425 | Northeast | Rural | Northeast - Rural | 112900 |  | AZ | West
| Education - College / University | 120 | 1.2 | Education | Commercial | 120 | 0.096262 | 11.5514 | 14.6 | 2 | 1 | 0.5 | 1.5 | 0.25 | Health care |  | 47 | 50.84% | 36.91% | 2.786% | 9.471% | 0% | 0% | 47 |  | 0.085658 | Fuel Oil | 0.07421 | Northeast | Suburban | Northeast - Suburban | 106800 |  | CA | West
| Education - K-12 School | 75 | 1.2 | Education | Commercial | 75 | 0.096262 | 7.2196 | 14.6 | 2 | 1 | 0.5 | 1.5 | 0.25 | Inpatient |  | 50.2 | 45.72% | 39.89% | 2.914% | 11.29% | 0% | 0.1821% | 50.2 |  | 0.082651 | District Steam / Hot Water | 0.0664 | Northeast | Urban | Northeast - Urban | 106800 |  | CO | West
| Education - Other | 76 | 1.2 | Education | Commercial | 76 | 0.096262 | 7.3159 | 14.6 | 2 | 1 | 0.5 | 1.5 | 0.25 | Lodging |  | 44.5 | 53.9% | 39.18% | 1.418% | 5.496% | 0% | 0% | 44.5 |  | 0.086593 | DCW - Electric Driven | 0.0527 | South | Rural | South - Rural | 81800 |  | CT | Northeast
| Education - Preschool | 75 | 1.2 | Education | Commercial | 75 | 0.096262 | 7.2196 | 14.6 | 2 | 1 | 0.5 | 1.5 | 0.25 | Residential - Multifamily |  | 42 | 60.22% | 34.67% | 4.282% |  | 0.8287% | 0.8287% | 42 |  | 0.090357 | DCW - Natural Gas Absorption | 0.07389 | South | Suburban | South - Suburban | 74000 |  | DC | Northeast
| Food - Fast Food | 534 | 1.5 | Food service | Commercial | 534 | 0.084959 | 45.368 | 25.1 | 2 | 1 | 0.5 | 1.5 | 0.25 | Residential - Senior care |  | 60.2 | 60.22% | 34.67% | 4.282% |  | 0.8287% | 0.8287% | 60.2 |  | 0.090357 | DCW - Natural Gas Engine Driven | 0.04931 | South | Urban | South - Urban | 74000 |  | DE | Northeast
| Food - Grocery Store | 213 | 1.5 | Food sales | Commercial | 213 | 0.1007 | 21.4486 | 23.7 | 2 | 1 | 0.5 | 1.5 | 0.25 | Residential - Single family | 109500 |  | 45.44% | 44.47% | 5.579% |  | 4.491% | 4.506% | 0 |  | 0.082136 | n/a |  | West | Rural | West - Rural | 93100 |  | FL | South
| Food - Restaurant | 302 | 1.5 | Food service | Commercial | 302 | 0.084959 | 25.6575 | 25.1 | 2 | 1 | 0.5 | 1.5 | 0.25 | Office |  | 14.5 | 69.7% | 22.72% | 1.45% | 6.124% | 0% | 0% | 14.5 |  | 0.096189 |  |  | West | Suburban | West - Suburban | 69900 |  | GA | South
| Food - Sales | 225 | 1.5 | Food sales | Commercial | 225 | 0.1007 | 22.657 | 23.7 | 2 | 1 | 0.5 | 1.5 | 0.25 | Outpatient |  | 15.5 | 67.46% | 27.22% |  |  | 0% | 5.325% | 15.5 |  | 0.090888 |  |  | West | Urban | West - Urban | 69900 |  | HI | West
| Food - Service | 351 | 1.5 | Food service | Commercial | 351 | 0.084959 | 29.8205 | 25.1 | 2 | 1 | 0.5 | 1.5 | 0.25 | Public assembly |  | 26.2 | 57.29% | 28.12% | 1.458% | 13.33% | 0% | -0.2083% | 26.2 |  | 0.090287 | [7 empty] | IA | Midwest
| Laboratory | 370 | 1.4 | Inpatient | Commercial | 370 | 0.082651 | 30.5809 | 50.2 | 2 | 1 | 0.5 | 1.5 | 0.25 | Public safety |  | 42.6 | 54.89% | 30.83% | 1.504% |  | 0% | 12.78% | 42.6 |  | 0.07968 | [7 empty] | ID | West
| Library | 104 | 1.3 | Public assembly | Commercial | 104 | 0.090287 | 9.3898 | 26.2 | 2 | 1 | 0.5 | 1.5 | 0.25 | Religious worship |  | 7.3 | 46.82% | 50.29% | 2.89% |  | 0% | 0% | 7.3 |  | 0.081905 | [7 empty] | IL | Midwest
| Lodging - Hotel | 94 | 1 | Lodging | Residential | 94 | 0.086593 | 8.1398 | 44.5 | 5 | 0 | 8 | 5 | 4 | Retail (other than mall) |  | 8 | 77.2% | 20.33% | 1.923% |  | 0% | 0.5495% | 8 |  | 0.099695 | [7 empty] | IN | Midwest
| Lodging - Residence Hall | 89 | 1 | Lodging | Residential | 89 | 0.086593 | 7.7068 | 44.5 | 5 | 0 | 8 | 5 | 4 | Service |  | 12.6 | 46.69% | 44.85% | 5.882% |  | 0% | 2.574% | 12.6 |  | 0.081091 | [7 empty] | KS | Midwest
| Medical - Hospital | 227 | 1.2 | Inpatient | Commercial | 227 | 0.082651 | 18.7618 | 50.2 | 2 | 1 | 0.5 | 1.5 | 0.25 | Warehouse and storage |  | 3.4 | 66.2% | 32.4% | 1.166% |  | 0% | 0.2331% | 3.4 |  | 0.093083 | [7 empty] | KY | South
| Medical - Office | 59 | 1 | Health care | Commercial | 59 | 0.085658 | 5.0538 | 47 | 2 | 1 | 0.5 | 1.5 | 0.25 | [19 empty] | LA | South
| Medical - Outpatient surgery | 73 | 1.2 | Outpatient | Commercial | 73 | 0.090888 | 6.6348 | 15.5 | 2 | 1 | 0.5 | 1.5 | 0.25 | [19 empty] | MA | Northeast
| Meeting Hall | 52 | 1.2 | Public assembly | Commercial | 52 | 0.090287 | 4.6949 | 26.2 | 2 | 1 | 0.5 | 1.5 | 0.25 | [19 empty] | MD | Northeast
| Movie Theater | 95 | 1.6 | Public assembly | Commercial | 95 | 0.090287 | 8.5772 | 26.2 | 2 | 1 | 0.5 | 1.5 | 0.25 | [19 empty] | ME | Northeast
| Museum | 95 | 1.6 | Public assembly | Commercial | 95 | 0.090287 | 8.5772 | 26.2 | 2 | 1 | 0.5 | 1.5 | 0.25 | [19 empty] | MI | Midwest
| Office | 90 | 1 | Office | Commercial | 90 | 0.096189 | 8.657 | 14.5 | 2 | 1 | 0.5 | 1.5 | 0.25 | [19 empty] | MN | Midwest
| Performing arts | 95 | 1.6 | Public assembly | Commercial | 95 | 0.090287 | 8.5772 | 26.2 | 2 | 1 | 0.5 | 1.5 | 0.25 | [19 empty] | MO | Northeast
| Post Office | 66 | 1.1 | Office | Commercial | 66 | 0.096189 | 6.3485 | 14.5 | 2 | 1 | 0.5 | 1.5 | 0.25 | [19 empty] | MS | South
| Public Assembly | 66 | 1.1 | Public assembly | Commercial | 66 | 0.090287 | 5.9589 | 26.2 | 2 | 1 | 0.5 | 1.5 | 0.25 | [19 empty] | MT | West
| Public Safety - Police, fire, etc. | 90 | 1 | Public safety | Commercial | 90 | 0.07968 | 7.1712 | 42.6 | 2 | 1 | 0.5 | 1.5 | 0.25 | [19 empty] | NC | South
| Recreation (Visitor Center) | 66 | 1.1 | Public assembly | Commercial | 66 | 0.090287 | 5.9589 | 26.2 | 2 | 1 | 0.5 | 1.5 | 0.25 | [19 empty] | ND | Midwest
| Religious Worship | 46 | 1.3 | Religious worship | Commercial | 46 | 0.081905 | 3.7676 | 7.3 | 2 | 1 | 0.5 | 1.5 | 0.25 | [19 empty] | NE | Midwest
| Residential - Assisted Living | 124 | 1 | Residential - Multifamily | Residential | 124 | 0.090357 | 11.2043 | 42 | 5 | 0 | 8 | 5 | 4 | [19 empty] | NH | Northeast
| Residential - Multifamily | 79 | 0.7 | Residential - Multifamily | Residential | 79 | 0.090357 | 7.1382 | 42 | 5 | 0 | 8 | 5 | 4 | [19 empty] | NJ | Northeast
| Residential - Single family |  | 0.7 | Residential - Single family | Residential | 0 | 0.082136 | 0 | 0 | 5 | 0 | 8 | 5 | 4 | [19 empty] | NM | West
| Retail - Box Store | 47 | 1.5 | Retail (other than mall) | Commercial | 47 | 0.099695 | 4.6857 | 8 | 2 | 1 | 0.5 | 1.5 | 0.25 | [19 empty] | NV | West
| Retail - Convenience Store | 192 | 1.5 | Retail (other than mall) | Commercial | 192 | 0.099695 | 19.1415 | 8 | 2 | 1 | 0.5 | 1.5 | 0.25 | [19 empty] | NY | Northeast
| Retail - General | 72 | 1.5 | Retail (other than mall) | Commercial | 72 | 0.099695 | 7.1781 | 8 | 2 | 1 | 0.5 | 1.5 | 0.25 | [19 empty] | OH | Midwest
| Retail - Mall | 107 | 1.5 | Enclosed and strip malls | Commercial | 107 | 0.09284 | 9.9339 | 11.3 | 2 | 1 | 0.5 | 1.5 | 0.25 | [19 empty] | OK | West
| Self Storage | 31 | 0.8 | Warehouse and storage | Commercial | 31 | 0.093083 | 2.8856 | 3.4 | 2 | 1 | 0.5 | 1.5 | 0.25 | [19 empty] | OR | West
| Services - General | 77 | 1.4 | Service | Commercial | 77 | 0.081091 | 6.244 | 12.6 | 2 | 1 | 0.5 | 1.5 | 0.25 | [19 empty] | PA | Northeast
| Warehouse | 26 | 0.8 | Warehouse and storage | Commercial | 26 | 0.093083 | 2.4202 | 3.4 | 2 | 1 | 0.5 | 1.5 | 0.25 | [19 empty] | RI | Northeast
| Warehouse - Refrigerated | 127 | 0.8 | Warehouse and storage | Commercial | 127 | 0.093083 | 11.8216 | 3.4 | 2 | 1 | 0.5 | 1.5 | 0.25 | [19 empty] | SC | South
[34 empty] | SD | Midwest
[34 empty] | TN | South
[34 empty] | TX | South
[34 empty] | UT | West
[34 empty] | VA | South
[34 empty] | VT | Northeast
[34 empty] | WA | West
[34 empty] | WI | Midwest
[34 empty] | WV | Midwest
[34 empty] | WY | West

## Program Calcs
| Program Breakdown(?) | % of Total Area | LPD (W/sf) | Site EUI (kBtu/sf/yr) | Operational Carbon Intensity (kg-CO2e/sf/yr) | Water Use Intensity (Gal/sf/yr) | Toilet (#/person/day) | Urinal (#/person/day) | Shower (min/person/day) | Lavatory (min/person/day) | Kitchen Faucet (min/person/day)
Reference Table Column Index |  |  | 3 | 6 | 8 | 9 | 10 | 11 | 12 | 13 | 14
Reported Benchmark |  |  | 3: 0; 6: 0; 8: 0; 9: 0
User-Defined Benchmark
Program-Weighted Benchmark |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Building Program #1 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Building Program #2 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Building Program #3 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Building Program #4 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Building Program #5 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Building Program #6 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Building Program #7 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Building Program #8 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Change Log (hidden)
Track Changes to the SuperSpreadsheet
Version | Tab | Description